# Test Scenario 1 Run Documentation

Generated: 2026-05-20 17:19:20

# Summary

This document records the thermal-only greenfield capacity expansion test run created from test_scenario_1.txt, executed with data from doc/expansion_data, and compared against the thermal section of 03-Basic-Capacity-Expansion.ipynb. The Python/SciPy HiGHS result matches the notebook's Julia/JuMP HiGHS result within display precision.

# Input Prompts

## Primary prompt: test_scenario_1.txt

Use the scenario_builder skill.

I want to create a solver-ready scenario configuration for the following scenario.

Model context:

- This is a greenfield electricity generation capacity expansion model.

- The model minimizes total fixed cost, variable generation cost, and non-served energy penalty.

- Candidate resources for the first test should include only thermal generators: Geothermal, Coal, CCGT, and CT.

- Demand is hourly demand for 8,760 hours.

- Non-served energy is allowed but penalized.

- NSECost = 9000 $/MWh.

- Solver: HiGHS.

- Language/modeling stack: Julia + JuMP.

- Input files:

- expansion_data/generators_for_expansion.csv

- expansion_data/demand_for_expansion.csv

- Do not include wind and solar in this first scenario.

Create a structured scenario config in YAML or JSON. The config should include:

1. scenario_id

2. model_type

3. objective description

4. sets

5. input data files

6. candidate generator filter

7. key parameters

8. decision variables

9. constraints

10. solver settings

11. expected output files

12. validation checks to run after solving

Make the output domain-specific to energy system capacity expansion, not a generic optimization config.

## Additional prompt file: text_scenario_1_prompt.txt

"Use the scenario_builder skill.

Read the input from scenario_builder/assets/test_request_1.txt.

Generate a structured YAML configuration following scenario_builder/assets/expected_config_schema.yaml.

Save the output to scenario_builder/assets/generated_config_1.yaml.

Ensure valid YAML, all required fields are filled, reasonable defaults are applied, and no extra explanation text."

# Scenario Configuration

## Generated YAML: test_scenario_1_output.yaml

scenario_id: "thermal_greenfield_capacity_expansion_test_001"

created_at: "2026-05-20T00:00:00Z"

model_type: "greenfield_generation_capacity_expansion"

modeling_stack:

language: "Julia"

algebraic_modeling: "JuMP"

solver: "HiGHS"

objective:

sense: "minimize"

description: "Minimize total annualized fixed capacity cost, variable generation cost, and non-served energy penalty over an 8760-hour planning horizon."

terms:

fixed_capacity_cost:

expression: "sum(g in CandidateGenerators, fixed_cost_per_mw_year[g] * build_capacity_mw[g])"

units: "USD/year"

variable_generation_cost:

expression: "sum(t in Hours, g in CandidateGenerators, variable_cost_per_mwh[g] * generation_mwh[g,t])"

units: "USD"

non_served_energy_penalty:

expression: "sum(t in Hours, nse_cost_usd_per_mwh * non_served_energy_mwh[t])"

units: "USD"

sets:

hours:

name: "Hours"

source: "expansion_data/demand_for_expansion.csv"

expected_count: 8760

index_column: "hour"

candidate_generators:

name: "CandidateGenerators"

source: "expansion_data/generators_for_expansion.csv"

include_technologies:

- "Geothermal"

- "Coal"

- "CCGT"

- "CT"

exclude_technologies:

- "Wind"

- "Solar"

input_data_files:

generator_data:

path: "expansion_data/generators_for_expansion.csv"

required: true

expected_fields:

- "technology"

- "fixed_cost_per_mw_year"

- "variable_cost_per_mwh"

- "capacity_factor"

- "max_capacity_mw"

demand_data:

path: "expansion_data/demand_for_expansion.csv"

required: true

expected_fields:

- "hour"

- "demand_mw"

candidate_generator_filter:

mode: "include_only"

technology_column: "technology"

include_values:

- "Geothermal"

- "Coal"

- "CCGT"

- "CT"

reject_if_present_after_filter:

- "Wind"

- "Solar"

key_parameters:

planning_horizon_hours: 8760

timestep_hours: 1.0

nse_cost_usd_per_mwh: 9000.0

allow_non_served_energy: true

network_representation: "single_bus"

capacity_expansion_mode: "greenfield"

existing_capacity_treatment: "ignored"

emissions_policy: null

reserve_margin_policy: null

generator_parameters_from_csv:

fixed_cost_per_mw_year: "Annualized fixed cost for candidate build capacity."

variable_cost_per_mwh: "Marginal generation cost."

max_capacity_mw: "Upper bound on build capacity by technology or candidate resource."

capacity_factor: "Hourly or scalar availability multiplier, depending on input schema."

decision_variables:

build_capacity_mw:

index: ["CandidateGenerators"]

domain: "NonNegativeReals"

description: "New installed capacity selected for each candidate generator technology."

generation_mwh:

index: ["CandidateGenerators", "Hours"]

domain: "NonNegativeReals"

description: "Hourly energy production by candidate generator."

non_served_energy_mwh:

index: ["Hours"]

domain: "NonNegativeReals"

description: "Unserved hourly demand allowed at high penalty cost."

constraints:

demand_balance:

index: ["Hours"]

expression: "sum(g in CandidateGenerators, generation_mwh[g,t]) + non_served_energy_mwh[t] == demand_mw[t]"

description: "Hourly load must be met by thermal generation or non-served energy."

generation_capacity_limit:

index: ["CandidateGenerators", "Hours"]

expression: "generation_mwh[g,t] <= build_capacity_mw[g] * availability_factor[g,t] * timestep_hours"

description: "Hourly generation cannot exceed built capacity adjusted for availability."

build_capacity_upper_bound:

index: ["CandidateGenerators"]

expression: "build_capacity_mw[g] <= max_capacity_mw[g]"

description: "Candidate build is limited by resource-specific maximum capacity."

non_served_energy_limit:

index: ["Hours"]

expression: "0 <= non_served_energy_mwh[t] <= demand_mw[t] * timestep_hours"

description: "NSE cannot exceed the demand in each hour."

excluded_resource_guard:

index: ["CandidateGenerators"]

expression: "technology[g] not in ['Wind', 'Solar']"

description: "First test scenario must not include wind or solar candidates."

solver_settings:

solver_name: "HiGHS"

optimizer_constructor: "HiGHS.Optimizer"

time_limit_seconds: 600

relative_mip_gap: null

primal_feasibility_tolerance: 1.0e-7

dual_feasibility_tolerance: 1.0e-7

presolve: "on"

log_to_console: true

log_file: "test/scenario_builder/test_scenario_1_highs.log"

notes:

- "The base formulation is continuous linear programming unless integer build decisions are added later."

- "HiGHS-specific options should be applied only if supported by the installed HiGHS.jl version."

expected_output_files:

capacity_build:

path: "test/scenario_builder/test_scenario_1_capacity_build.csv"

fields:

- "technology"

- "build_capacity_mw"

- "fixed_cost_usd"

hourly_dispatch:

path: "test/scenario_builder/test_scenario_1_dispatch.csv"

fields:

- "hour"

- "technology"

- "generation_mwh"

non_served_energy:

path: "test/scenario_builder/test_scenario_1_nse.csv"

fields:

- "hour"

- "non_served_energy_mwh"

- "nse_penalty_usd"

solve_summary:

path: "test/scenario_builder/test_scenario_1_solve_summary.json"

fields:

- "termination_status"

- "objective_value_usd"

- "total_fixed_cost_usd"

- "total_variable_cost_usd"

- "total_nse_mwh"

- "total_nse_penalty_usd"

validation_checks:

pre_solve:

- id: "input_files_exist"

severity: "FAIL"

check: "Confirm generator and demand CSV files exist before model construction."

- id: "demand_has_8760_rows"

severity: "FAIL"

check: "Confirm demand_for_expansion.csv has exactly 8760 hourly rows."

- id: "thermal_only_candidates"

severity: "FAIL"

check: "Confirm filtered candidate set contains only Geothermal, Coal, CCGT, and CT."

- id: "no_wind_or_solar"

severity: "FAIL"

check: "Confirm Wind and Solar are absent after filtering."

- id: "nse_penalty_positive"

severity: "FAIL"

check: "Confirm NSECost is 9000 USD/MWh and greater than all thermal variable costs."

post_solve:

- id: "optimal_or_feasible_status"

severity: "FAIL"

check: "HiGHS termination status should be OPTIMAL or another accepted feasible status."

- id: "hourly_balance_residual"

severity: "FAIL"

check:

... [truncated in document]

# Generated Output Files

- run_test_scenario_1.py (9,593 bytes)

- test_scenario_1_output.yaml (7,365 bytes)

- test_scenario_1_capacity_build.csv (164 bytes)

- test_scenario_1_dispatch.csv (935,086 bytes)

- test_scenario_1_nse.csv (121,624 bytes)

- test_scenario_1_solve_summary.json (543 bytes)

- test_scenario_1_comparison.md (2,073 bytes)

# Solve Results

| Metric | Value |
| --- | --- |
| Termination status | OPTIMAL |
| Objective value | 990,873,978.80 USD |
| Total fixed cost | 355,352,720.00 USD |
| Total variable cost | 629,788,258.80 USD |
| Total NSE | 637.00 MWh |
| Total NSE penalty | 5,733,000.00 USD |
| Modeled hours | 8760 |

## Capacity Build

| Technology | Build Capacity MW | Fixed Cost USD |
| --- | --- | --- |
| Geothermal | 0.0 | 0.00 |
| Supercritical Coal | 0.0 | 0.00 |
| Natural gas CCGT | 3,328.0 | 274,227,200.00 |
| Natural gas CT | 1,290.0 | 81,125,520.00 |

# Notebook Comparison

| Metric | Notebook | test_scenario_1 | Status |
| --- | --- | --- | --- |
| Objective | 9.9087397880e+08 USD | 990,873,978.8000 USD | Match |
| Geo capacity | 0.0 MW | 0.0 MW | Match |
| Coal capacity | 0.0 MW | 0.0 MW | Match |
| CCGT capacity | 3328.0 MW | 3328.0 MW | Match |
| CT capacity | 1290.0 MW | 1290.0 MW | Match |
| NSE max | 195.0 MW | 195.0 MW | Match |
| NSE total | 0.637 GWh | 0.637 GWh | Match |

The compared notebook section uses the same thermal candidate set, demand data, generator cost data, NSE penalty, objective structure, hourly demand balance, and generation capacity constraint. The notebook solves through Julia/JuMP with HiGHS; this test run solves the equivalent LP through Python/SciPy linprog with HiGHS.

## Comparison Report Text

# test_scenario_1 Comparison Against 03-Basic-Capacity-Expansion.ipynb

## Scope

This compares `test_scenario_1` results generated by `run_test_scenario_1.py` against the thermal greenfield capacity expansion section of `doc/03-Basic-Capacity-Expansion.ipynb`.

Both runs use:

- Thermal candidate set: Geo, Coal, CCGT, CT

- Demand file: `doc/expansion_data/demand_for_expansion.csv`

- Generator cost file: `doc/expansion_data/generators_for_expansion.csv`

- NSE penalty: 9000 USD/MWh

- Objective: fixed capacity cost + variable generation cost + NSE penalty

- Constraints: hourly demand balance and `GEN[g,h] <= CAP[g]`

## Objective

| Source | Objective value |

|---|---:|

| Notebook HiGHS output | 9.9087397880e+08 USD |

| `test_scenario_1_solve_summary.json` | 990,873,978.7999924 USD |

Result: match within solver/display precision.

## Capacity And Energy Results

| Resource | Notebook MW | Test MW | Notebook GWh | Test GWh |

|---|---:|---:|---:|---:|

| Geo | 0.0 | 0.0 | -0.0 | 0.000 |

| Coal | 0.0 | 0.0 | -0.0 | 0.000 |

| CCGT | 3328.0 | 3328.0 | 22139.4 | 22139.366 |

| CT | 1290.0 | 1290.0 | 427.894 | 427.894 |

| NSE | 195.0 | 195.0 | 0.637 | 0.637 |

Result: capacity and annual energy results match. Minor GWh display differences are rounding only.

## Cost Breakdown From Test Run

| Metric | Value |

|---|---:|

| Total fixed cost | 355,352,720.0 USD |

| Total variable cost | 629,788,258.8 USD |

| Total NSE | 637.0 MWh |

| Total NSE penalty | 5,733,000.0 USD |

| Total objective | 990,873,978.8 USD |

## Notes

- The notebook uses Julia/JuMP with HiGHS; `run_test_scenario_1.py` uses Python/SciPy `linprog` with HiGHS.

- The formulations are equivalent for the thermal-only greenfield LP.

- The test script maps notebook generator labels to full descriptions in the output CSVs: `Geo` -> `Geothermal`, `Coal` -> `Supercritical Coal`, `CCGT` -> `Natural gas CCGT`, and `CT` -> `Natural gas CT`.

- The scenario YAML originally referenced `expansion_data/...`; the test script intentionally uses the available workspace data under `doc/expansion_data/`.

# Run Summary

The run selected no Geothermal or Coal capacity, built 3,328 MW of CCGT and 1,290 MW of CT, served nearly all demand, and left 637 MWh of non-served energy over 8,760 hours. The resulting objective value is 990,873,978.80 USD. These values reproduce the notebook's displayed thermal capacity expansion results.